## Sheet1
Part # | Amount | Article | Seller/Manufacturer | Part ID
1 | 1 | UV-cured glue | shop.bondic.de | - | 20
2 | 8 | Near-infrared LEDs 880nm, 100mA max | conrad.de | 153831 - 62 | 8
3 | 1 | Humidifier Philips HU4706/11 | conrad.de | 1378450 - 62 | 70
4 | 2 | Laboratory power supply VOLTCRAFT LSP-1165 | conrad.de | 1337856 - 62 | 200
5 | 2 | Ring magnet TRU COMPONENTS N35 | conrad.de | 1571358 - 62 | 10
6 | 8 | Cylinder magnet StandexMeder Electronics | conrad.de | 1205898 - 62 | 2
7 | 1 | Switchable power bar Boos RC7 | conrad.de | 971821-62 | 60
8 | 1 | Enclosure Monacor Rack-6W | conrad.de | 1332465 - 62 | 230
9 | 1 | Power strip 6x Brennenstuhl | conrad.de | 1434107 - 62 | 20
10 | 2 | 230mm fan | conrad.de | 1093404 - 62 | 30
11 | 40 | Packs of 2mm diameter steel balls | conrad.de | 220318 - 62 | 40
12 | 2 | 300cm Paulmann MaxLED 1000 | conrad.de | 1406643 - 62 | 100
13 | 4 | Threaded rods M4 | conrad.de | 1066496 - 62
14 | 1 | Pack of knurled screws m6 | conrad.de | 112086 - 62
15 | 1 | Pack of hex nuts M6 | conrad.de | 1065032 - 62
16 | 1 | Pack of hex nuts M4 | conrad.de | 1060795 - 62
17 | 2 | 8mm UC Series objective | edmundoptics.de | 33302 | 300
18 | 2 | Anti-reflex coated window UV-VIS CTD TS | edmundoptics.de | 84479 | 100
19 | 1 | Pack of 1cm long 100µm diameter steel pins | entosphinx.cz | 3.1 | 20
20 | 2 | 50mm x 50mm sheet linear polarizer | knightoptical.com | OUV5050 | 700
21 | 1 | Near-infrared filter | leefilters.com | 87C | 30
22 | 1 | Pack of non-fluorescent diffuser paper 80g/sqm | folia.de | - | 5
23 | 2 | Collimated UV LED 365nm | mightexsystems.com | LCS-0365-13-B | 700
24 | 2 | Collimated green LED 530nm | mightexsystems.com | LCS-0530-15-B | 800
25 | 1 | Stimulus LED controller | mightexsystems.com | BLS-SA04-US | 1500
26 | 1 | Streampix 7 Multi camera software | norpix.com | - | 1500
27 | 1 | PID temperature controller | pohltechnic.com | RT4-121-Tr21Sd | 100
28 | 1 | Temperature sensor | pohltechnic.com | PT100-13-50x6perf2S | 50
29 | 2 | Firefly MV camera | ptgrey.com | FMVU-03MTM-CS | 300
30 | 2 | 360° servo motor Dynamixel MX-28T | robotis.us | 902-0067-000 | 250
31 | 2 | V-shaped saphire bearing 1.2mm diam. | situs-tec.de | -
32 | 1 | Carbon heater 230V | termowelt.de | 100575 | 50
33 | 4 | Mounting base, 50 mm x 75 mm x 10 mm | thorlabs.com | BA2/M | 30
34 | 8 | Dovetail rail carrier, 1.00" x 1.00" | thorlabs.com | RC1 | 30
35 | 4 | Dovetail rail spacers, 5 pack, M4 taps | thorlabs.com | SC1/M | 30
36 | 8 | Dovetail optical rail, 300 mm, metric | thorlabs.com | RLA300/M | 560
37 | 1 | Aluminum breadboard, 300 mm x 300 mm M6 | thorlabs.com | MB3030D/M | 140
38 | 1 | Aluminum breadboard, 250 mm x 300 mm M6 | thorlabs.com | MB2530/M | 140
39 | 1 | Humidity controller TXG | top-messtechnik.com | TMT-HC-210 | 50
40 | 1 | Microcontroller Arbotix-M | trossenrobotics.com | IL-ARBOTIXM | 30
41 | 2 | Quiet cooling fan for stimulus LEDs | Conrad.de | 183723 - 62
This list includes parts for building two flight assays within one enclosure. Cables, tools and screws are not included.